| Testing of Water Outlets/Taps The hot water tap should be allowed to run for one minute at which time it should read above 50°c cold water tanks should read below 20°c |
| --- |
| Date | Area Where Sample Taken | Temperature Recorded | Further Action to be Taken * | Initials |

Once completed these sheets should be kept with relevant health and safety documentation.

* Complete further action report as necessary

Guidance Notes

1. Hot Water in the boiler should be kept at a minimum of 60c and water at each outlet

point should be above 50c within a minute of running the water.

2. Cold Water should be less than 20c and at each outlet point be below 20c within two

minutes of running the water.

3. Showers - Shower heads and hoses should be dismantled, cleaned and de-scaled at least quarterly.

4. Any units not regularly used must be flushed through and emptied to drain, e.g. remove shower heads at least weekly or immediately before use.

5. Cold Water Tanks - Ensure that the tank is insulated with a closed lid.

Testing of Water Tanks – Further Action

Temperature of Water

Date Sample Taken

Area Where Sample was Taken From

Following the testing of water tanks within the building further action should be taken as described below. This may involve work from an outside contractor.

Name								Date